## Sheet1
NOMOR : 116
MECHANICAL, ELECTRICAL, FABRICATION, PIPING, MAINTENANCE
Dusun Nglembu, RT 20/RW 10, Desa Bendorejo, Kecamatan Pogalan, Kabupaten Trenggalek
Telepon : 082 244 741 847
Email : cvbarokahmashur2016@gmail.com
Kepada Yth. |  |  |  |  | Trenggalek, 16 Juli 2019
PT. SURABAYA AUTOCOMP INDONESIA
PT. Surabaya Autocomp Indonesia |  |  |  | Quot. No | : 116/BAMAS-PENWRN/VII/2019
Ngoro Industri Persada Kav. T-1 |  |  |  | Y / REF. NO | : -
Ngoro, Mojokerto - Surabaya
Attn | : Bapak M. Johan
Telp/ Fax | : +62-321-6817400, +62-321-6817395 / +62-321-6817541
Bersama ini, kami kirimkan penawaran harga INSTALATION LIGHTING, SOCKET AND COMPRESSOR PIPE MOOK UP LINE 11 SAI B,
dengan rincian sebagai berikut :
No | Description | Unit | Qty | PRICE |  | TOTAL
|  |  |  | Material (Rp) | Labour (Rp)
Instalation Lighting Socket and Compressor Pipe Mook Up LINE 11 SAI B
1. | Lighting and Socket LINE 11 SAI B | Lot | 1 | 66029900 | 24450000 | 90479900
2. | Panel Lighting Socket and Cable LINE 11 SAI B | Lot | 1 | 79647000 | 16235300 | 95882300
3. | Instalation Compressor Pipe LINE 11 SAI B | Lot | 1 | 33420200 | 11364140 | 44784340
Total Rp. |  |  |  | 179097100 | 52049440 | 231146540
Untuk Deskripsi harga, silahkan lihat di sheet 2.
Demikian penawaran ini kami berikan, kami menunggu kabar selanjutnya dari Bapak/ Ibu. Atas perhatiannya dan kerjasamanya, kami ucapkan terimakasih.
CV. BAROKAH MASHUR
Term & Condition :
|  |  |  | Delivery | :
|  |  |  | Price | : Include PPh, belum termasuk PPN 10%
|  |  |  | Payment Term | : 30 hari setelah invoice di terima
|  |  |  | Validity | : 22 Juli 2019

## Sheet2
Description
No | Description |  |  |  |  | Unit | Qty |  | PRICE |  |  | REMARKS
[8 empty] | Material |  | Labour
[8 empty] | Unit (Rp) | Total (Rp) | Unit (Rp) | Total (Rp)
1 | Instalation Lighting Socket and Compressor Pipe Mook Up LINE 11 SAI B
Lighting and Socket LINE 11 SAI B
| Lighting Fixture Housing : FL 18W x 2 LED, Reflector type |  |  |  | Multilamp | Pcs | 30 | 826600 | 24798000
| - LED Tube TB 18 W, 2200 Lumen, CCT 6000K, Cast Alu Reflector type |  |  |  | KingLed |  |  |  | 0
| Lighting BMG Housing : FL 18W x 2 LED, Reflector type |  |  |  | Multilamp | Pcs | 2 | 3152500 | 6305000
| - LED Tube TB 18 W, 2200 Lumen, CCT 6000K, Cast Alu Reflector type |  |  |  | KingLed |  |  |  | 0
0
| Receptacies 16 A 380V 3Phase 5Phole |  |  |  | Mennekes | Pcs | 8 | 325000 | 2600000
| Receptacies 16 A 220V 1Phase 3Phole |  |  |  | Mennekes | Pcs | 16 | 214500 | 3432000
| Receptacies 16 A 220V 1Phase 3Phole |  |  |  | Panasonic | Pcs | 16 | 52000 | 832000
| Switch Lamp 16A 230V 2Gang c/w cover SUS |  |  |  | Panasonic | Pcs | 2 | 162500 | 325000
0
| Cable Duct, Steel Condulte and Accessories | [7 empty] | 0
| - Cable Duct 70 x 70 x 10 x 1,6 x 2400mm |  |  |  | LOCAL | Pcs | 80 | 195000 | 15600000
| - Steel Condulte E-19 |  |  |  |  | Pcs | 4 | 71500 | 286000
| - Accessories |  |  |  |  | Lot | 1 | 794300 | 794300
0
| Consumable |  |  |  |  | Lot | 1 | 2694900 | 2694900
| Supporting material |  |  |  |  | Lot | 1 | 7006400 | 7006400
| Painting |  |  |  |  | Lot | 1 | 766000 | 766000
| Miscellanouse Fee |  |  |  |  | Lot | 1 | 590300 | 590300
| Labour Cost |  |  |  |  | Lot | 1 |  |  | 24450000 | 24450000
| Total = (1) | [7 empty] | 66029900 |  | 24450000
2 | Panel Lighting Socket and Cable LINE 11 SAI B
| P.PROO LINE 11 |  |  |  |  | Pcs | 1 | 21468700 | 21468700
| - MCCB 3P 87.5 - 125A 25kA, Adjust c/w Barrier |  | CVS 1608 | SCHNEIDER | 1 Pc
| - Pilot Lamp 220V/ AC R,O,G |  | YW1P-2EQ | IDEC | 3 Pcs
| - FUSE 6 A w/Holder |  | FH32-SL | HOWIG | 3 Pcs
| - MCB 3P 20A 10kA |  | iC60N | SCHNEIDER | 4 Pc
| - MCB 2P 20A 10kA |  | iC60N | SCHNEIDER | 4 Pc
| - MCB 2P 10A 10kA |  | iC60N | SCHNEIDER | 4 Pc
| - BOX : 700(W) x 900(H) x 220(D) |  | INDOOR | MME
0.6 / 1 KV Cable Power
| - Cable NYY AC - 25mm2 |  |  | Supreme |  | Mtr | 25 | 205400 | 5135000
| - Cable NYA 1C - 10 mm2 |  |  | Supreme |  | Mtr | 25 | 21700 | 542500
| - Cable NYYHY 5C-4mm2 |  |  | Supreme |  | Mtr | 250 | 104000 | 26000000
| - Cable NYYHY 3C-4mm2 |  |  | Supreme |  | Mtr | 300 | 33200 | 9960000
| - Cable NYM 3C-2.5mm2 |  |  | Supreme |  | Mtr | 300 | 16300 | 4890000
| - Termination |  |  |  |  | Lot | 1 | 2324900 | 2324900
| Consumable |  |  |  |  | Lot | 1 | 3514600 | 3514600
| Supporting material |  |  |  |  | Lot | 1 | 3220300 | 3220300
| Painting |  |  |  |  | Lot | 1 | 2146900 | 2146900
| Misoellanouse Fee |  |  |  |  | Lot | 1 | 444100 | 444100
| Labour Cost |  |  |  |  | Lot | 1 |  |  | 16235300 | 16235300
| Total = (2) | [7 empty] | 79647000 |  | 16235300
3 | Installation Compressor Pipe LINE 11 SAI B
| Steel Pipe | Medium Galv | L= 6 mtr | 100 A |  | Kg | 20 | 177100 | 3542000
| Steel Pipe | Medium Galv | L= 6 mtr | 25 A |  | Kg | 18 | 176500 | 3177000
| Steel Pipe | Medium Galv | L= 6 mtr | 20 A |  | Kg | 4 | 129300 | 517200
| Steel Pipe | Medium Galv | L= 6 mtr | 15 A |  | Kg | 3 | 121300 | 363900
| Fitting for Above |  |  |  |  | Pcs | 1 | 3872200 | 3872200
| Elbow Scr'd | Galvanized |  | 20 A | 20 Pcs
| Shock Scr'd | Galvanized |  | 15 A | 20 Pcs
| Raducar Scr'd | Galvanized |  | 20 x 15 A | 20 Pcs
| Tee Wald | Galvanized |  | 100 x 25 A | 2 Pcs
| Tee Wald | Galvanized |  | 100 x 100 A | 1 Pcs
| Elbow Scr'd | Galvanized |  | 25 A | 1 Pcs
| Union | Galvanized |  | 26 A | 2 Pcs
| Flange | Galvanized |  | 27 A | 8 Pcs
| Flange | Galvanized |  | 100 A | 4 Pcs
| Blink Flange | Galvanized |  | 100 A | 1 Pcs
| Balll Valve JIS 10K Bronze Flange Type |  |  | 100 A | Kitz | Pcs | 1 | 6801100 | 6801100
| Balll Valve JIS 10K Bronze Screw |  |  | 25 A | Kitz | Pcs | 1 | 345200 | 345200
| Balll Valve JIS 10K Bronze Screw |  |  | 15 A | Kitz | Pcs | 20 | 197600 | 3952000
| Coupler Set |  |  | 15 A | NITTO | Pcs | 20 | 143500 | 2870000
| Supporting material |  |  |  |  | Lot | 1 | 3790300 | 3790300
| Painting |  |  |  |  | Lot | 1 | 2526900 | 2526900
| Consumable |  |  |  |  | Lot | 1 | 1283400 | 1283400
| Miscellanouse Fee |  |  |  |  | Lot | 1 | 379000 | 379000
| Labour Cost |  |  |  |  | Lot | 1 |  |  | 11364140 | 11364140
| Total = (3) | [7 empty] | 33420200 |  | 11364140
| Total (1 + 2 + 3) | [7 empty] | 179097100 |  | 52049440